Exercise Report

| Subject of this exercise: | “Two-terminal electronic components” (#6) |
| --- | --- |
| Students: | <me> <myself> <I> |
| Course/code: | <course>, <group> |
| Date & time: | 20<YY>. <MM>. <DD>. |
| Lecturer today: |  |

Equipment in use, devices under test

| Oscilloscope | Agilent 54622A | MY4< > |
| --- | --- | --- |
| Signal generator | Agilent 33220A | MY4< > |
| Digital multimeter (6½ digit) | Agilent 33401A | MY4< > |
| Impedance analyzer | Wayne-Kerr 6440 | Unit No.: < > |
| Test board | VIK-I-06-01 |  |
| Test board | VIK-I-06-02 |  |

Exercises

1.	Small resistance measurement

1.1.	Measure the resistance of a 1-meter long cable with a high-precision multimeter using 2- and 4-wire methods as well, and then without using additional wires, i.e., connecting the cable into the multimeter directly.  Repeat the measurement with the Wayne-Kerr impedance analyzer.

What we have done is the following:

This is what we have got from the different measurements:

1.2.	Make a coil from the cable being measured, first using standard winding, then bifilar winding.  Plot the impedance characteristics for the standard and the bifilar wound coils, compare the results, and point out the differences.

The characteristics look like these:

The difference can well be seen here:

2.	Resistance as a function of power

Measure the non-ideal characteristics of a resistor, i. e., the dependence of its resistance on the temperature.  Do not forget to check the voltage on the terminals.  Be careful: the resistor may become hot!

| U [V] | 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- | --- |
| R [] |  |  |  |  |  |
| P [mW] |  |  |  |  |  |

We have understood here that ... .

We again learnt here something:

3.	Inductance measurements

Compare the impedance characteristics of an air core inductor with those of a similarly wound ferromagnetic core inductor.  Explain the characteristical differences in details.

We have got these nice figures:

The differences are:

We can see a strange behavior, but we can explain it:

4.	Resonance of a parallel LC circuit

4.1.	Design a measurement setup to observe the resonance phenomenon and to measure the resonance frequency of a parallel LC circuit by not using the Wayne-Kerr impedance analyzer.

We have wired up things like this:

That’s what we can see on the oscilloscope:

We have also plotted nice Lissajous-curves:

4.2.	Measure the resonance parameters by using the Wayne-Kerr impedance analyzer.  Plot the impedance characteristics.

These are the parameters:

And here are the Z(f) plots:

We should not forget that:

5.	Analyzing an unknown two terminal circuit

Analyze the impedance of the two- or three-component circuit chosen by your instructor.  Determine the components of this particular circuit as well as their actual parameters.

This is what we have done:

We have figured out these:

And, at last, now we know this:

The End.